## Appendix C: TMS Seizure Response Plan (Wall Poster)

### EMERGENCY RESPONSE PLAN: TMS-INDUCED SEIZURE OR LOSS OF CONSCIOUSNESS

### 🛑 1. Stop the Stimulation

- Press the Enable/Disable button on the TMS system to halt stimulation.

- Ensure the coil is removed from the participant’s head.

### 🧠 2A. During the Seizure

- Do NOT restrain the participant.

- Recline the participant or lower them to the ground

- Support the participant’s head and keep them on their side if possible.

- Stay calm and reassure the participant when they regain awareness. Clear the area of obstacles to prevent injury.

- If the person has stopped breathing after the seizure is over, begin CPR

- Call 911 or alert someone nearby to get help

### 🧠 2B.  During Fainting (Syncope) or Dizziness

- Recline the participant and elevate legs

- Check for a pulse and check for breathing

- If not breathing normally or has no pulse, begin CPR

- Call 911 or alert someone nearby to get help

👥 3. Assign Roles

- One staff member should stay with the participant and monitor their condition.

- The second staff member should call 911 from the nearest phone.

### 📞 4. Emergency Contacts

- Call 911 for immediate medical response.

- Notify CCBBI staff as soon as emergency procedures are underway:

  - CCBBI Assistant Director, Xiangrui Li: 626-616-8528

  - Study Principal Investigator

### 📝 5. After the Event

- Do not continue the TMS session.

- Monitor the participant until emergency personnel arrive.

- Complete an Adverse Event Report and notify the IRB according to your protocol.

- Submit documentation to ccbbi.service@osu.edu within 24 hours.

### ⚠️ Reminders

- A Level 2 certified operator with active BLS certification must be present during all TMS sessions.

- Emergency instructions must be visible in the TMS testing room.

- All staff should review this protocol regularly.